## Bharosa
DAR Form
Group Name |  |  |  | Project Name |  | Jal Rekha
Decision Seeker |  |  |  | Evaluation Date |  | 2025-11-13
Problem Statement | To select a reliable factory testing approach for validating water samples against 17 quality parameters in the Bharosa module.
Scope of DAR
DAR Team Members | Entire Team
Alternatives |  |  | Source of Alternatives |  |  | Remarks
A1 – Manual testing and manual entry of results without system validation |  |  | Derived from existing manual water sample testing practices where results are recorded manually without system validation.
A2 – Testing using kit with manual entry and basic system validation |  |  | Derived from current project testing practices using testing kits with manual data entry and limited system validation.
A3 –Testing using kit with standardized procedure and full system validation in Bharosa module |  |  | Derived from defined project quality standards, standardized testing procedures, and Bharosa module system capabilities for complete data validation.
Criteria for Evaluation |  | Weightage (1 = Least important and 5 = Most important) |  | Rationale for Criteria and Weightage Selection
Legal & Regulatory Compliance |  | 5
Integration Feasibility |  | 5
Process Automation & Efficiency |  | 4
Data Security & Document Integrity |  | 5
Availability of Technical & Operational Resources |  | 4
Scalability & Reusability |  | 4
Ease of Adoption for Applicants |  | 3
Operational Risk Reduction |  | 4
Criteria for Evaluation | A1 – Manual testing and manual entry of results without system validation |  | A2 – Testing using kit with manual entry and basic system validation |  | A3 –Testing using kit with standardized procedure and full system validation in Bharosa module
| Score | Weighted Score | Score | Weighted Score | Score | Weighted Score
Legal & Regulatory Compliance | 1 | 5 | 1 | 5 | 3 | 15
Integration Feasibility | 5 | 25 | 4 | 20 | 4 | 20
Process Automation & Efficiency | 3 | 12 | 4 | 16 | 5 | 20
Data Security & Document Integrity | 3 | 15 | 4 | 20 | 4 | 20
Availability of Technical & Operational Resources | 1 | 4 | 4 | 16 | 4 | 16
Scalability & Reusability | 2 | 8 | 4 | 16 | 4 | 16
Ease of Adoption for Applicants | 3 | 9 | 3 | 9 | 3 | 9
|  | 0 |  | 0 |  | 0
Average Weighted Score |  | 9.75 |  | 12.75 |  | 14.5
Score Range (1 - 5) : ( 1 = Minimum rating and 5 = Maximum rating)
Alternatives |  |  | Order (1 = Highest, 4 = Lowest) |  |  | Result
A1 – Manual testing and manual entry of results without system validation |  |  | 3 |  |  | Reject
A2 – Testing using kit with manual entry and basic system validation |  |  | 2 |  |  | Reject
A3 –Testing using kit with standardized procedure and full system validation in Bharosa module |  |  | 1 |  |  | Accept
Solution Decision (Decision Authority) |  | Testing using kit with standardized procedure and full system validation in the Bharosa module (Alternative A3) is selected as the preferred approach for factory testing of water samples.
Risk anticipated |  | Incorrect sample collection or handling by Inspection Officer Manual data entry errors during result recording Testing kit malfunction or improper calibration Incomplete or incorrect validation of any of the 17 parameters Dependency on system availability during testing
Assumptions |  | Inspection Officers are trained to collect and test water samples using the testing kit. Testing kits are properly calibrated and suitable for testing all 17 parameters. Standard operating procedures for sample testing are followed. Bharosa module is available and supports full system validation during testing. Required infrastructure and test environment are stable during factory testing.
Remarks |  | Factory testing completed successfully; all 17 parameters validated and results recorded in the Bharosa module, ensuring compliance with quality standards.
Decision Authority |  | Office of the Jal Rekha Commissioner, Madhya Pradesh, in consultation with MPSEDC – authorized to approve the selected testing approach for factory testing of water samples in the Bharosa module. |  |  |  | Date | 2025-11-21

## Material Testing
DAR Form
Group Name |  |  |  | Project Name |  | Jal Rekha
Decision Seeker |  |  |  | Evaluation Date |  | 2025-11-29
Problem Statement | To select a reliable approach for field testing and verification of materials used in water supply, ensuring accurate testing by the Field Engineer before approval for use, while maintaining compliance with project quality standards.
Scope of DAR
DAR Team Members | Entire Team
Alternatives |  |  | Source of Alternatives |  |  | Remarks
A1 –Manual testing and recording by Field Engineer without system validation |  |  | Derived from historical manual field testing practices without system validation.
A2 – Field testing with sample verification and manual entry into the system |  |  | Derived from current field practices with sample verification and basic system entry.
A3 –Field testing using standardized procedures with full system validation and approval by Field Engineer |  |  | Derived from defined project quality standards, SOPs for field testing, and system capabilities to capture results accurately.
Criteria for Evaluation |  | Weightage (1 = Least important and 5 = Most important) |  | Rationale for Criteria and Weightage Selection
Legal & Regulatory Compliance |  | 5
Integration Feasibility |  | 5
Process Automation & Efficiency |  | 4
Data Security & Document Integrity |  | 5
Availability of Technical & Operational Resources |  | 4
Scalability & Reusability |  | 4
Ease of Adoption for Applicants |  | 3
Operational Risk Reduction |  | 4
Criteria for Evaluation | A1 –Manual testing and recording by Field Engineer without system validation |  | A2 – Field testing with sample verification and manual entry into the system |  | A3 –Field testing using standardized procedures with full system validation and approval by Field Engineer
| Score | Weighted Score | Score | Weighted Score | Score | Weighted Score
Legal & Regulatory Compliance | 1 | 5 | 1 | 5 | 3 | 15
Integration Feasibility | 5 | 25 | 4 | 20 | 4 | 20
Process Automation & Efficiency | 3 | 12 | 4 | 16 | 5 | 20
Data Security & Document Integrity | 3 | 15 | 4 | 20 | 4 | 20
Availability of Technical & Operational Resources | 1 | 4 | 4 | 16 | 4 | 16
Scalability & Reusability | 2 | 8 | 4 | 16 | 4 | 16
Ease of Adoption for Applicants | 3 | 9 | 3 | 9 | 3 | 9
|  | 0 |  | 0 |  | 0
Average Weighted Score |  | 9.75 |  | 12.75 |  | 14.5
Score Range (1 - 5) : ( 1 = Minimum rating and 5 = Maximum rating)
Alternatives |  |  | Order (1 = Highest, 4 = Lowest) |  |  | Result
A1 –Manual testing and recording by Field Engineer without system validation |  |  | 3 |  |  | Reject
A2 – Field testing with sample verification and manual entry into the system |  |  | 2 |  |  | Reject
A3 –Field testing using standardized procedures with full system validation and approval by Field Engineer |  |  | 1 |  |  | Accept
Solution Decision (Decision Authority) |  | Field testing using standardized procedures with full system validation and approval by Field Engineer – is approved as the preferred approach for material testing.
Risk anticipated |  | Errors during material sample collection or field testing by the Field Engineer. Testing equipment or kit malfunction affecting accuracy of results. Manual entry errors, mitigated by system validation. Delays in testing or verification due to Field Engineer availability. Non-compliance with standard operating procedures (SOPs) during field testing.
Assumptions |  | Field Engineers are trained to collect, test, and verify materials accurately. Testing equipment/kits are calibrated and suitable for all material parameters. Standard Operating Procedures (SOPs) for field testing and verification are followed consistently. The system for recording results is available, functional, and stable during testing. Only materials that pass verification will be approved for use in water supply.
Remarks |  | Factory testing completed successfully; all 17 parameters validated and results recorded in the Bharosa module, ensuring compliance with quality standards.
Decision Authority |  | Office of the Jal Rekha Commissioner, Madhya Pradesh, in consultation with MPSEDC and the Project Steering Committee – authorized to approve the selected field testing and verification approach by Field Engineers. |  |  |  | Date | 2025-11-29