## Main sheet
Third Party Inspection Report
h
SN | Component | SN | Sub Component | Name Of Item | Recommended Make (As per Agreement) | TPIA Inspection Agency (As per Agreement)
A | Intake Well | 1 | Gates / Valves | Butterfly valve | sigma Flow Control India Ltd. | M/S IRClass
|  |  |  | Valve Actuators | Rotork
|  | 2 | Cranes/ Gantry Girders | EOT | Alpha | M/S SGS india pvt ltd
| Electric substation & Power line | 1 | Transformers | LT Transformers | Vardhman Electro-Mech Pvt. Limited | M/S SGS india pvt ltd
|  | 2 | Electric line | LT Line
|  | 3 | Items for Instrumentation/ Automation | Programmable Logic Controllers (PLC) | Alpha | M/S SGS india pvt ltd
|  |  |  | Moulded Case Circuit Breaker (MCCB) | Schneider M.G.
|  |  |  | Relay and Contactors | Siemens
|  |  |  | Flat PVC and Armoured Cable | Tropodur
|  |  |  | Panel Enclosures and Consoles | Cutler Hammer
|  |  |  | Switch fuse Disconnector | L & T
|  |  |  | Multi-Function Energy Meters | Enercon
|  |  |  | Capacitor bank | Khatau Junker
|  |  |  | Cable Termination kit | Denson
|  |  |  | Battery | HBL NIFE
|  |  |  | Uninterruptible Power Supply | Pulse
|  |  |  | Lightening Protection Unit | MH Inst
|  |  |  | Instruments & Control Cables | Delton
|  |  |  | Conductivity level switch | Pune techtrol
B | Water Treatement Plant | 1 | Parshall Flume | flow switch | Switzer | M/S SGS india pvt ltd
|  | 2 | Flash Mixture | Sluice Gate | IVC | M/S SGS india pvt ltd
|  |  |  | Actuators | Auma | M/S SGS india pvt ltd
Agitator
|  |  |  | Electric Moter | Jyoti | M/S SGS india pvt ltd
|  | 3 | Clarifocclator | Rotating Bridge | ​Triveni | M/S SGS india pvt ltd
|  |  |  | Electric Morter for Agitator | Kirloskar
|  | 4 | Telescopic Chamber | Sluice valve | Kirloskar | M/S SGS india pvt ltd
|  |  |  | Valve Actuators | Auma
|  | 5 | Waste Water Collecting Sump | Sluice valve | Kirloskar | M/S SGS india pvt ltd
|  |  |  | Valve Actuators | Auma
|  |  |  | Diaphragm Pressure Gauge | Mitsuishi Electric
Level Transmitter
|  |  |  | Dismentaling Joint | Anup Engg.
|  | 6 | Flter House | Butterfly valve PN 2.5 (Dia range 40 mm to 1000 mm) | Kirloskar | M/S SGS india pvt ltd
|  |  |  | Valve Actuators | Auma
|  |  |  | DI pipes Class K-9 (Dia 80 - 1000 mm) | Electrosteel
|  |  |  | Air blower | W&T
|  |  |  | Pressure Guage | Mitsuishi Electric
|  |  |  | Dismentaling joint | Anup Engg.
|  | 7 | Chemical Building | Alum metering pump | Kirloskar | M/S SGS india pvt ltd
|  |  |  | EOT | Jash
|  |  |  | Diaphram valve | IVC
|  |  |  | Pressure Guage | Schneider Electric
vacume regulator
|  | 8 | Chlorination Building | Clhorine gas toner 930 kg | W&T | M/S SGS india pvt ltd
|  |  |  | chlorinator | W&T
|  |  |  | chlorine Ejecter | W&T
|  |  |  | chlorine booster pump | W&T
|  |  |  | Chlorine leak detector | W&T
|  |  |  | Chlorine Analyser | W&T
|  |  |  | EOT | Jash
|  | 9 | Clear Water Reservoir | Sluice gate | IVC | M/S SGS india pvt ltd
|  |  |  | Gate Actuators | Auma
|  |  |  | Level indicator | SBM
|  | 10 | Pump house | Gantry Girders/EOT | Jash | M/S SGS india pvt ltd
|  | 11 | Sludge drying bed | Sluice valve for PN 1.0 (Dia range 50 to 1200 mm) | Kirloskar | M/S SGS india pvt ltd
Sluice valve for PN- 1.6 (Dia range 50 to 1200 mm)
|  |  |  | Valve Actuators | Auma
|  |  |  | DI pipes Class K-7 (Dia 80 - 1000 mm) | Jindal
|  | 12 | Items for Instrumentation/ Automation | Programmable Logic Controllers (PLC) | Rockwell (Allen Bradly) | M/S International certification Services pvt ltd.
|  |  |  | Moulded Case Circuit Breaker (MCCB) | Siemens
|  |  |  | Relay and Contactors | Marathon
|  |  |  | Flat PVC and Armoured Cable | Finolex
|  |  |  | Panel Enclosures and Consoles | President
|  |  |  | Switch fuse Disconnector | Siemens 3 KL Type
|  |  |  | Multi-Function Energy Meters | Enercon,
|  |  |  | Capacitor bank | Crompton Greaves,
|  |  |  | Cable Termination kit | Raychem,
|  |  |  | Battery | HBL NIFE,
|  |  |  | Ultrasonic Type Level Measurement Device | Hycontrol UK, Electronet
|  |  |  | Pressure switch | Switzer,
|  |  |  | Pressure gauge | AN Instruments,
|  |  |  | Flow switch | General Instrument,
|  |  |  | Pressure Transmitter | Druck,
|  |  |  | Engineering cum Operator work Station | Compaq,
|  |  |  | Local Supervisory Station | IBM,
|  |  |  | HMI Software | Wincc,
|  |  |  | Alarm Annunciator | Peacon,
|  |  |  | Uninterruptible Power Supply | Pulse,
|  |  |  | Lightening Protection Unit | MTL,
|  |  |  | Instruments & Control Cables | Asian,
|  |  |  | Receiver Indicator/Digital panel meter | Yokogawa,
|  |  |  | Conductivity level switch | SBEM,
|  |  |  | Computer (Servers & Workstation) | Dell
|  |  |  | Laptop | Dell
|  |  |  | Printer | Samsung,
|  |  |  | Multifunction power monitor | MASIBUS
|  |  |  | Temperature Scanner | Masibus,
|  |  |  | Analog Signal Multiplier | MASIBUS,
|  |  |  | Air conditioning | Voltas,
|  |  |  | Exhaust Fan | G.E.C.
|  |  |  | Lighting & Fixtures | Phillips
C | RWPM/CWPM/CWGM | 1 | DI Pipes | DI pipes (Class K-9) Dia- 150 mm | Electrosteel | M/S Central Institute of Plastic Engineering & technology(CIPET)
|  | 2 | DI Fittings | DI Double socket/ Flanged bend of required Dia | Jindal
|  | 3 | MS Pipe as per IS specification with inside & outside epoxy coating as per relevent IS code duly tested for water supply | 711 mm OD-12 .0 mm thickness | Jindal
|  | 4 | Valves | Sluice Valves | IVC | M/S SGS india pvt ltd
|  | 5 | Joints | Dismantling joints | Anup Engg.
D | Distribution Network | 1 | HDPE Pipes | HDPE pipe Dia 63 mm (PE 100, PN-6) | Duraline | M/S Central Institute of Plastic Engineering & technology(CIPET)
|  |  | HDPE Fittings | Electrofusion HDPE Fittings | Kimplas
|  | 3 | Valves | Butterfly Valve | IVC | M/S SGS india pvt ltd
E | MBR/ OHSR | 1 | Float valves | Float valves to control the overflow from ESRs/GSRs | Shiva Industries | M/S SGS india pvt ltd
|  | 2 | DI Double flanged Pipe | D.I. Double Flanged Pipe 400 mm Dia PN-10 (class- K-9) | Jindal | M/S SGS india pvt ltd
|  |  | DI Fittings | DI Fittings | Electrosteel
|  | 3 | Joints | Expansion joints | Anup Engg.
|  | 4 | Flow meters | Electro-magnetic Flow meters | Yokogawa
|  |  |  | Woltman Type Bulk Water Meter | elster
|  | 5 | Cantainer wall | Zincalum tank | Lemda,
F | House Service Connections | 1 | Flow control valve | Flow control valve for HSCs. | Orbit Engineers | M/S SGS india pvt ltd
|  | 2 | Pipes and specials | MDPE Pipe | HI-TECH Polyplast Nagpur Pvt. Ltd. | M/S Central Institute of Plastic Engineering & technology(CIPET)
|  |  |  | G.I. Pipe | APL Apollo Tubes Limited
|  | 3 | MDPE Fittings | Compression fittings | Kimplas
|  | 4 | Water Tap | SS tap | Make yet to be decide ( normally provide SS tap)
G | Pumps | 1 | Raw water Pump, motors and Ancillaries | VT pump | Sigma Flow Control India Ltd. | M/S SGS india pvt ltd
Motors for VT pumps
HT Panel
LT Panel
|  |  |  | Kinetic Air Valve | IVC
|  |  |  | Valve Actuators | Rotork
|  | 2 | Clear water Pump, motors and Ancillaries | Split casing centrifugal pump | Sigma Flow Control India Ltd. | M/S SGS india pvt ltd
Motors for Cetrifugal pumps
HT Panel
LT Panel
|  |  |  | Butterfly Valve | IVC
|  |  |  | Valve Actuators | Rotork
|  | 3 | Joints | Expansion joints | LoneStar
|  | 4 | Flow meters | Electro-magnetic Flow meters | Emerson
H | SCADA System | 1 | SCADA System for Intake well, WTP,IPBS,MBR&OHSR. | CHLORINE SENSOR with TRANSMITTER (Range - 0-5 ppm) ¦ | Schneider Electric | M/S Bureau Veritas

## Raw sheet
SN | Component | SN | Sub Component | Name Of Item | Recommended Make (As per Agreement)
A | Intake | 1 | Gates / Valves | Single faced Sluice Gates | Kirloskar
|  |  |  | Butterfly valve | IVC
VAG
IVI
Fouress
Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
|  | 2 | Cranes/ Gantry Girders | Valve Actuators | Auma
Rotork
Limitork
|  |  |  | EOT | Jash
Rewa Industries, MD Elevators
Alpha
| Electric substation & Power line | 1 | Transformers | LT Transformers | ABB
|  |  |  | HT Transformers | Crompton Greaves
Emco
Siemens
Shriram Switchgears
Vardhman Electro-Mech Pvt. Limited
Star Delta Transformers Limited
Tesla Transformers (India) Limited
Elector-Tech Transmission Pvt. Ltd.
|  | 2 | Electric line | HT Line
LT Line
|  | 3 | Items for Instrumentation/ Automation | Programmable Logic Controllers (PLC) | Jash
Rewa Industries, MD Elevators
Alpha
|  |  |  | Moulded Case Circuit Breaker (MCCB) | Siemens
Schneider M.G.
Jyoti
L&T
|  |  |  | Relay and Contactors | Siemens
Marathon
Jyoti
ABB
L&T
|  |  |  | Flat PVC and Armoured Cable | Tropodur
Finolex
Asian
Gloster
Incab
Universal
Polycab
Cords Cable Indutries Ltd.
C.R.I. Pumps Private Limited
Vishal Cables Pvt. Ltd.
Grandlay Electricals (India).
|  |  |  | Panel Enclosures and Consoles | Rittal
President
Cutler Hammer
Hira RR Ispat.
|  |  |  | Switch fuse Disconnector | L & T
FN Type
Siemens 3 KL Type
GEPC
|  |  |  | Multi-Function Energy Meters | Enercon
L & T
SOCOMEC
|  |  |  | Capacitor bank | Crompton Greaves
Khatau Junker
Malde
L&T
|  |  |  | Cable Termination kit | Raychem
Denson
M-Seal
|  |  |  | Battery | HBL NIFE
Exide
Amco
|  |  |  | Uninterruptible Power Supply | HI-Real
Pulse
Tata Libert
APC
APLAB
|  |  |  | Lightening Protection Unit | MH Inst
MH Inst
MH Inst, Crompton Greaves
Pepper & fuchs
Rittmeyer
Cirprotec
|  |  |  | Instruments & Control Cables | Delton
Asian
Servel
TCL
Thermopad
|  |  |  | Conductivity level switch | Pune techtrol
SBEM
Krohne Marshall
Endress+Hauser India
NIVO
Electronet
B | Water Treatement Plant | 1 | Parshall Flume | Flow Sensor | Switzer
|  |  |  | flow switch | General Instrument
Forbes Marshall
|  | 2 | Flash Mixture | Sluice Gate | Kirloskar
IVC
VAG
IVI
Fouress
Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
|  |  |  | Actuators | Auma
|  |  |  | Agitator | Rotork
Limitork
|  |  |  | Electric Moter | Kirloskar
Jyoti
Crompton Grieves
ABB
Marathon
BHEL
Siemens
Bharat Bijlee
|  | 3 | Clarifocclator | Rotating Bridge | ​Triveni
Shivpad
Dorr-Oliver
Voltas
Adroit Associates
Imac Engineering
Reliable Equipments
Hindustan Water Engineering Company
TMVT INDUSTRIES PVT.LTD (Blowers Only)
KPT. Industries Ltd (Blowers Only)
Kay International (Blowers Only)
Micro Transmission Systems (Blowers Only)
Everest Blowers Pvt. Ltd. (Blowers Only) Batty And Co Pvt. Ltd.
ACME Air Equipments Co. Pvt. Ltd. (Blowers Only).
|  |  |  | Electric Morter for Agitator | Kirloskar
|  |  |  | peripheral drive motor | Jyoti
|  |  |  | planetary gear | Crompton Grieves
ABB
Marathon
BHEL
Siemens
Bharat Bijlee
|  | 4 | Telescopic Chamber | Sluice valve | Kirloskar
|  |  |  | Telescopic sludge bleding valve | IVC
VAG
IVI
Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
Sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
|  |  |  | Valve Actuators | Auma
Rotork
Limitork
|  | 5 | Waste Water Collecting Sump | Check Valve | Kirloskar
|  |  |  | Sluice valve | IVC
VAG
IVI
Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
Sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
|  |  |  | Valve Actuators | Auma
Rotork
Limitork
|  |  |  | Diaphragm Pressure Gauge | Mitsuishi Electric
|  |  |  | Level Transmitter | Schneider Electric
Cimcon Software (India) Pvt. Ltd.
Delta Electronics India Pvt. Ltd.
Desire Energy Solutions Pvt. Ltd.
Jumo India Pvt. Ltd.
Forbes Marshall Private Limited
Phoenix Contact India Private Limited
Fuji Electric India Pvt. Ltd
HOLLYSYS ASIA PACIFIC Pte Ltd.
Axis Solution Ltd.
|  |  |  | Dismentaling Joint | Anup Engg.
LoneStar
Vedanta
Precise
Shiva Industries
Bikaner Engineering Works.
|  | 6 | Flter House | Sluice valve for PN 1.0 (Dia range 50 to 1200 mm) | Kirloskar
|  |  |  | Sluice valve for PN- 1.6 (Dia range 50 to 1200 mm) | IVC
|  |  |  | Butterfly valve PN 1.0 (Dia range 40 mm to 1000 mm) | VAG
|  |  |  | Butterfly valve PN 2.5 (Dia range 40 mm to 1000 mm) | IVI
|  |  |  | Butterfly valve PN 4.0 (Dia range 40 mm to 1000 mm) | Fouress
|  |  |  | Sluice Gate | Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
Sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
|  |  |  | Valve Actuators | Auma
Rotork
Limitork
|  |  |  | DI pipes Class K-7 (Dia 80 - 1000 mm) | Electrosteel
|  |  |  | DI pipes Class K-9 (Dia 80 - 1000 mm) | Jindal
|  |  |  | DI pipes Class K-10 (Dia 80 - 1000 mm) | Tata
|  |  |  | DI Double socket/ Flanged bend | Electrotherm
|  |  |  | Double socket/ Flanged concentric tapers | Jai Balaji Industries
|  |  |  | DI all socket/ Flanged Tees | Rashmi Metaliks
|  |  |  | DI collars | Shrikalahasthi pipe
ESL Steel Limited
Welspun DI Pipes Ltd.
Kejriwal Castings Ltd.
|  |  |  | Air blower | ​Pennwalt
W&T
Aldos
ZION TECHNOLOGIES
Toshcon Jesco
Pristine Water
Hindustan Water Engineering
Supreme Technology
IEC Fabchem Limited
Chloro Tech Equipments Pvt. Ltd.
|  |  |  | Pressure Guage | Mitsuishi Electric
Schneider Electric
Cimcon Software (India) Pvt. Ltd.
Delta Electronics India Pvt. Ltd.
Desire Energy Solutions Pvt. Ltd.
Jumo India Pvt. Ltd.
Forbes Marshall Private Limited
Phoenix Contact India Private Limited
Fuji Electric India Pvt. Ltd
HOLLYSYS ASIA PACIFIC Pte Ltd.
Axis Solution Ltd.
|  |  |  | Dismentaling joint | Anup Engg.
LoneStar
Vedanta
Precise
Shiva Industries
Bikaner Engineering Works.
|  | 7 | Chemical Building | Alum metering pump | Kirloskar
|  |  |  | Lime metering pump | Jyoti
|  |  |  | PAC metering pump | Mather+Platt
WPIL, Beacon Weir
KSB Ltd., Goodwin
KSB Limited (Formerly Known as KSB Pumps Limited)
|  |  |  | EOT | Jash
Rewa Industries, MD Elevators
Alpha
|  |  |  | Diaphram valve | Kirloskar
|  |  |  | Auxilary valve | IVC
|  |  |  | Manifold valve | VAG
|  |  |  | Clorine ball valve | IVI
|  |  |  | Pressure regulating valve | Fouress
|  |  |  | Non-return Valves | Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
Sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
|  |  |  | Pressure Guage | Mitsuishi Electric
|  |  |  | vacume regulator | Schneider Electric
Cimcon Software (India) Pvt. Ltd.
Delta Electronics India Pvt. Ltd.
Desire Energy Solutions Pvt. Ltd.
Jumo India Pvt. Ltd.
Forbes Marshall Private Limited
Phoenix Contact India Private Limited
Fuji Electric India Pvt. Ltd
HOLLYSYS ASIA PACIFIC Pte Ltd.
Axis Solution Ltd.
|  | 8 | Chlorination Building | Clhorine gas toner 930 kg | ​Pennwalt
|  |  |  | chlorinator | W&T
|  |  |  | chlorine Ejecter | Aldos
|  |  |  | chlorine booster pump | ZION TECHNOLOGIES
|  |  |  | Chlorine leak detector | Toshcon Jesco
|  |  |  | Chlorine Analyser | Pristine Water
Hindustan Water Engineering
Supreme Technology
IEC Fabchem Limited
|  |  |  | EOT | Jash
Rewa Industries
Alpha
MD Elevators
|  | 9 | Clear Water Reservoir | Sluice gate | Kirloskar
IVC
VAG
IVI
Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
|  |  |  | Gate Actuators | Auma
Rotork
Limitork
|  |  |  | Level indicator | SBM
|  | 10 | Pump house | Gantry Girders/EOT | Jash
Rewa Industries, MD Elevators
Alpha
|  | 11 | Sludge drying bed | Sluice valve for PN 1.0 (Dia range 50 to 1200 mm) | Kirloskar
|  |  |  | Sluice valve for PN- 1.6 (Dia range 50 to 1200 mm) | IVC
VAG
IVI
Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Bentlay Fittings Pvt. Ltd
TEGA MUHENDISLIK SANAYi VE TiCARET A.S.Turkey
Arihant Plast
VIP Venkatesh Indigenous Pipes
Rupam Industries
Chamunda Plastic Pvt. Ltd.
Crestia Polytech 'P' Ltd.
Rainson Pipe Industries Pvt. Ltd.
Brothers Plastic Industries
Parth Poly Valves Pvt. Ltd.
Jain Irrigation Systems Ltd.
Gokul Poly Valves Pvt. Ltd.
The Supreme Industries Limited
Platinum Technologies & Engineering Services.
|  |  |  | Valve Actuators | Auma
Rotork
Limitork
|  |  |  | DI pipes Class K-7 (Dia 80 - 1000 mm) | Electrosteel
|  |  |  | DI pipes Class K-9 (Dia 80 - 1000 mm) | Jindal
|  |  |  | DI pipes Class K-10 (Dia 80 - 1000 mm) | Tata
|  |  |  | DI Double socket/ Flanged bend | Electrotherm
|  |  |  | Double socket/ Flanged concentric tapers | Jai Balaji Industries
|  |  |  | DI all socket/ Flanged Tees | Rashmi Metaliks
|  |  |  | DI collars | Shrikalahasthi pipe
ESL Steel Limited
Welspun DI Pipes Ltd.
Kejriwal Castings Ltd.
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
Sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
|  | 12 | Items for Instrumentation/ Automation | Programmable Logic Controllers (PLC) | Rockwell (Allen Bradly)
Siemens
Honeywell
|  |  |  | Moulded Case Circuit Breaker (MCCB) | Siemens
Schneider M.G.
Jyoti
L&T
|  |  |  | Relay and Contactors | Siemens
Marathon
Jyoti
ABB
L&T
|  |  |  | Flat PVC and Armoured Cable | Tropodur
Finolex
Asian
Gloster
Incab
Universal
Polycab
Cords Cable Indutries Ltd.
C.R.I. Pumps Private Limited
Vishal Cables Pvt. Ltd.
Grandlay Electricals (India).
|  |  |  | Panel Enclosures and Consoles | Rittal
President
Cutler Hammer
Hira RR Ispat.
|  |  |  | Switch fuse Disconnector | Siemens 3 KL Type
L & T
FN Type
GEPC
|  |  |  | Multi-Function Energy Meters | Enercon,
L & T,
SOCOMEC
|  |  |  | Capacitor bank | Crompton Greaves,
Khatau Junker,
Malde,
L&T
|  |  |  | Cable Termination kit | Raychem,
Denson,
M-Seal
|  |  |  | Battery | HBL NIFE,
Exide,
Amco
|  |  |  | Ultrasonic Type Level Measurement Device | Endress+Hauser
Krohne Marshall
Hycontrol UK, Electronet
EIP Enviro Level Controls Pvt. Ltd.
SBEM Pvt. Ltd.
|  |  |  | Pressure switch | Indfoss,
Switzer,
Tag Process Instruments
|  |  |  | Pressure gauge | WAREE,
WIKA,
AN Instruments,
Guru,
Hitek,
Electronet
|  |  |  | Flow switch | Switzer,
General Instrument,
Forbes Marshall
|  |  |  | Pressure Transmitter | Emerson,
Foxbro,
Druck,
Endress – Hauser,
ABB,
Honeywell Automation,
Electronet
|  |  |  | Engineering cum Operator work Station | IBM,
Compaq,
Dell
|  |  |  | Local Supervisory Station | IBM,
Compaq,
Dell
|  |  |  | HMI Software | Wincc,
Rs View,
Monitorpro,
Intellution,
Indusoft
|  |  |  | Alarm Annunciator | Minilec,
Peacon,
ICA,
APLAB,
Electronet
|  |  |  | Uninterruptible Power Supply | HI-Real,
Pulse,
Tata Libert,
APC,
APLAB
|  |  |  | Lightening Protection Unit | MH Inst,
Crompton Greaves,
MTL,
Pepper & fuchs,
Rittmeyer,
Cirprotec
|  |  |  | Instruments & Control Cables | Delton,
Asian,
Servel,
TCL,
|  |  |  | Receiver Indicator/Digital panel meter | Masibus,
Yokogawa,
Lectrotek,
NISHKO,
SaiTech,
MTL INSTS,
Electronet
|  |  |  | Conductivity level switch | Pune techtrol,
SBEM,
Krohne Marshall,
Endress+Hauser India
, NIVO
, Electronet
|  |  |  | Computer (Servers & Workstation) | HP-Compaq
IBM
Dell
|  |  |  | Laptop | HP
Dell
Sony
Toshiba
|  |  |  | Printer | Samsung,
HP,
CANNON
|  |  |  | Multifunction power monitor | MASIBUS
, L&T,
ENERCON,
SOCOMECH,
SECURE,
DAE
|  |  |  | Temperature Scanner | SaiTech,
Masibus,
Nishko,
Lectrotek
|  |  |  | Analog Signal Multiplier | MASIBUS,
Sai Tech,
MTL INSTS,
NISHKO
|  |  |  | Air conditioning | Voltas,
Samsung,
Carrier,
Hitachi
|  |  |  | Exhaust Fan | Crompton
G.E.C.
Bajaj
Khaitan
|  |  |  | Lighting & Fixtures | Phillips
Crompton
G.E.C.
c | RWPM/CWPM/CWGN | 1 | DI Pipes | DI pipes (Class K-7) Dia- 1000 mm | Electrosteel
|  |  |  | DI pipes (Class K-7) Dia- 900 mm | Jindal
|  |  |  | DI pipes (Class K-7) Dia- 800 mm | Tata
|  |  |  | DI pipes (Class K-7) Dia- 750 mm | Electrotherm
|  |  |  | DI pipes (Class K-7) Dia- 700 mm | Jai Balaji Industries
|  |  |  | DI pipes (Class K-7) Dia- 600 mm | Rashmi Metaliks
|  |  |  | DI pipes (Class K-7) Dia- 500 mm | Shrikalahasthi pipe
|  |  |  | DI pipes (Class K-7) Dia- 450 mm) | ESL Steel Limited
|  |  |  | DI pipes (Class K-7) Dia- 400 mm | Welspun DI Pipes Ltd.
|  |  |  | DI pipes (Class K-7) Dia- 350 mm | Kejriwal Castings Ltd.
DI pipes (Class K-7) Dia- 300 mm
DI pipes (Class K-7) Dia- 250 mm)
DI pipes (Class K-7) Dia- 200 mm
DI pipes (Class K-7) Dia- 150 mm
DI pipes (Class K-7) Dia- 125 mm
DI pipes (Class K-7) Dia- 100 mm)
DI pipes (Class K-9) Dia- 1000 mm
DI pipes (Class K-9) Dia- 900 mm
DI pipes (Class K-9) Dia- 800 mm
DI pipes (Class K-9) Dia- 750 mm
DI pipes (Class K-9) Dia- 700 mm
DI pipes (Class K-9) Dia- 600 mm
DI pipes (Class K-9) Dia- 500 mm
DI pipes (Class K-9) Dia- 450 mm)
DI pipes (Class K-9) Dia- 400 mm
DI pipes (Class K-9) Dia- 350 mm
DI pipes (Class K-9) Dia- 300 mm
DI pipes (Class K-9) Dia- 250 mm)
DI pipes (Class K-9) Dia- 200 mm
DI pipes (Class K-9) Dia- 150 mm
DI pipes (Class K-9) Dia- 125 mm
DI pipes (Class K-9) Dia- 100 mm)
|  | 2 | DI Fittings | DI Double socket/ Flanged bend of required Dia | Electrosteel
|  |  |  | Double socket/ Flanged concentric tapers Of required Dia | Jindal
|  |  |  | DI all socket/ Flanged Tees Of required Dia | Tata
|  |  |  | Cross Tees Of required Dia | Electrotherm
|  |  |  | DI collars Of required Dia | Jai Balaji Industries
Rashmi Metaliks
Shrikalahasthi pipe
ESL Steel Limited
Welspun DI Pipes Ltd.
Kejriwal Castings Ltd.
|  | 3 | MS Pipe as per IS specification with inside & outside epoxy coating as per relevent IS code duly tested for water supply | 610 mm OD-8.7 mm thickness | Jindal
|  |  |  | 610 mm OD-9.5 mm thickness | Sail
|  |  |  | 610 mm OD-10.0 mm thickness | RINL
|  |  |  | 610 mm OD-12 .0 mmthickness | TATA
660 mm OD-8.7 mm thickness
660 mm OD-9.5 mm thickness
660 mm OD-10.0 mm thickness
711 mm OD-8.7mm thAE9:AE11ickness
711 mm OD-9.5 mm thickness
711 mm OD-10 .0 mm thickness
711 mm OD-12 .0 mm thickness
762 mm OD-8.7mm thAE9:AE11ickness
762 mm OD-9.5 mm thickness
762 mm OD-10 .0 mm thickness
813 mm OD-8.7mm thickness
813 mm OD-9.5 mm thickness
813 mm OD-10 .0 mm thickness
813 mm OD-12 .0 mm thickness
864 mm OD-8.7mm thickness
864 mm OD-9.5 mm thickness
864 mm OD-10 .0 mm thickness
914 mm OD-8.7mm thickness
914 mm OD-9.5 mm thickness
914 mm OD-10 .0 mm thickness
965 mm OD-8.7mm thickness
965 mm OD-9.5 mm thickness
965 mm OD-10 .0 mm thickness
1016 mm OD-8.7mm thickness
1016 mm OD-9.5 mm thickness
1016 mm OD-10 .0 mm thickness
1016 mm OD-12 .0 mm thickness
1067 mm OD-8.7mm thickness
1067 mm OD-9.5 mm thickness
1067 mm OD-10 .0 mm thickness
1118 mm OD-8.7mm thickness
1118 mm OD-9.5 mm thickness
1118 mm OD-10 .0 mm thickness
1168 mm OD-8.7mm thickness
1168 mm OD-9.5 mm thickness
1168 mm OD-10 .0 mm thickness
1219 mm OD-8.7mm thickness
1219 mm OD-9.5 mm thickness
1219 mm OD-10 .0 mm thickness
1219 mm OD-12 .0 mm thickness
1296 mm OD-9.5 mm thickness
1296 mm OD-10 .0 mm thickness
1296 mm OD-12 .0 mm thickness
1321 mm OD-8.7mm thickness
1321 mm OD-9.5 mm thickness
1321 mm OD-10 .0 mm thickness
1422 mm OD-8.7mm thickness
1422 mm OD-9.5 mm thickness
1422 mm OD-10 .0 mm thickness
1422 mm OD-12 .0 mm thickness
1473 mm OD-9.5 mm thickness
1473 mm OD-10 .0 mm thickness
1524 mm OD-8.7mm thickness
1524 mm OD-9.5 mm thickness
1524 mm OD-10 .0 mm thickness
1524 mm OD-12 .0 mm thickness
1550 mm OD-10 .0 mm thickness
1550 mm OD-12 .0 mm thickness
|  | 4 | Valves | Sluice Valves | Kirloskar
|  |  |  | Butterfly Valve | IVC
|  |  |  | Kinetic Air Valve | VAG
|  |  |  | Water hammer control valves | IVI
|  |  |  | Zero Velocity Valve | Fouress
|  |  |  | Non Return valve | Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
Sureeal or equivalent
Shree Krishna Industries
Sureeal or equivalent
Vardhman Electromech
Flownix Valves
|  | 5 | Joints | Dismantling joints | Anup Engg.
|  |  |  | Expansion joints | LoneStar
Vedanta
Precise/
Shiva
Industries
Bikaner Engineering Works.
D | Distribution Network | 1 | HDPE Pipes | HDPE pipe Dia 355 mm (PE 100, PN-6) | Reliance
|  |  |  | HDPE pipe Dia 315 mm (PE 100, PN-6) | Duraline
|  |  |  | HDPE pipe Dia 280 mm (PE 100, PN-6) | Jain Irrigation, Jalgaon
|  |  |  | HDPE pipe Dia 250 mm (PE 100, PN-6) | Sangir
|  |  |  | HDPE pipe Dia 225 mm(PE 100, PN-6) | Time Technoplast
|  |  |  | HDPE pipe Dia 200 mm (PE 100, PN-6) | Signet Industries
|  |  |  | HDPE pipe Dia 180 mm (PE 100, PN-6) | ORI-Plast, Kolkata
|  |  |  | HDPE pipe Dia 160 mm (PE 100, PN-6) | Kataria Plastics
|  |  |  | HDPE pipe Dia 140 mm (PE 100, PN-6) | Kriti Industries
|  |  |  | HDPE pipe Dia 125 mm (PE 100, PN-6) | The Supreme Industries
|  |  |  | HDPE pipe Dia 110 mm (PE 100, PN-6) | Makknow Industries
|  |  |  | HDPE pipe Dia 90 mm (PE 100, PN-6) | Texmo Pipes and Products
|  |  |  | HDPE pipe Dia 75 mm (PE 100, PN-6) | Kisan Irrigations and Infrastructure
|  |  |  | HDPE pipe Dia 63 mm (PE 100, PN-6) | Tufropes Pvt. Ltd.
Apollo Pipes
Vishal pipes
Vectus Industries
Parixit Irrigation, Ahmedabad
Nimbus Pipes
Godavari Polymers
Shree TNB Polymers Ltd
VEEKAY PLAST
Miraj Pipes and Fittings Pvt. Ltd
Delight Enterprises Pvt. Ltd
Kothari Agritech Pvt. Ltd
Tijariya Polypide’s Ltd
Kisan Mouldings Limited, Silvassa
Tirupati Structurals Limited
Delta Irrigation LLP
Mohit Polytech
Hitech Polyplast
Pragati Pipe
VIP Venkatesh Indigenous Pipes
Vinayak Polypipes
Gautam Plastics
Borana Industries
Rupam Industries
Wonder Agritech
Bhagwati Plastric & Pipe
Flexiflow Polymers LLP
Falcon Pipe
Crestia Polytech
ASM Industries
Elegant Polymers
Rungta Irrigation Ltd.
Jai Pushpa Industries
Kisan Mouldings Limited, Dewas
Aditya Polytechnic Pvt. Ltd.
Kelvin Plastic Private Limited
Parixit Irrigation Limited, Bhopal
Creator Poly Extrusions LLP
AVS Industries
Dinesh Irrigation Pvt. Ltd.
Eonn Plast India Pvt. Ltd.
Shree Bhandari Plastic Pvt. Ltd.
Chamunda Plastic Pvt. Ltd.
Laxmi Engitech Pvt. Ltd.
Ashish Pipes
Westwell Polytubes
Avian Pipes Pvt. Ltd.
Aion Pipes Private Limited
Newton Pipe Industry
OMRF Pipe & Products
Riyansh Polytech Pvt. Ltd.
Vijaya Polymers India Pvt. Ltd.
Tyagi Industries.
Rajasthan Engineers & Contractors Enterprises
Annapurna Industries
SRM Plastochem Pvt. Ltd.
Duke Pipes Pvt. Ltd.
B.R. Polyplast LLP
Malpani Pipes & Fittings Pvt. Ltd.
Rainson Pipe Industries Pvt. Ltd.
Noble Green Agritech Pvt. Ltd.
Natraj Polyplast Pvt. Ltd.
Mohit India
Vasani Polymers Pvt. Ltd.
Vishakha Plastic Pipe Pvt. Ltd.
Varni Plast
Parvati Agro Plast
Ori Plast Limited, Behror
Pawan Polytex Pvt. Ltd.
Jain Irrigation Systems Ltd., Alwar
Aquatic Pipes and Tubes Private Limited
Techno Fibre Industries
SAS Polymers Pvt. Ltd.
Shree Enterprises
PolyRaj Pipes LLP
The Supreme Industries Limited
Polysil Irrigation Systems Pvt. Ltd.
Mahashakati Pipe Industries (A Unit of BABA Lokenath Agrotech Industries Pvt. Ltd.)
Premier Irrigation Adritec Pvt. Ltd.
Presvels Private Limited
Pankaj Plasto Industries
Growmore Plastic Pipe Industries
Khedut Irrigation (India) Pvt. Ltd.
Keshav Kripa Polyplast LLP
Usha Agro Industries Private Limited
Shri Rishabh Polyplast
Kachnar Polymers Pvt. Ltd.
Siddhartha Marketing Service Ltd.
Darshan Pipe
Tirupati Teleplast Pvt. Ltd.
Aerochem Piping Pvt. Ltd.
Krishna Polypipes Pvt. Ltd.
Maheshwari Industries
Systoverse Pvt. Ltd.
Bestwell Polytube Industry Private Limited
Mahashakti Plast
RG & Sons Infrastructure Private Limited
Siddharth Polytubes Pvt. Ltd.
Bajrang Plastics Industries
Sangir Plastics Pvt. Ltd.
Modigold Pipes Private Limited
Gautam Industries
Skipper Limited
Kashtbhanjan Enterprises
Goutam Plastic
Dolphin Poly Plast Pvt. Ltd.
Chinar Industries
Tatiwar Agro Industries
Aasita Industries
Dara Thermoplast Private Limited
Jamshedpur Resources Private Limited
Holland Agritech Industries
Kaira Technoplast Pvt. Ltd.
Prem Industries
GSK Industries Private Limited
Aaram Plastics Private Limited
Ori Plast Ltd.
Venuka Polymers Private Limited
Aakash Polymer
A.G.P. Industries LLP
Gajanan Pipe Industries
Amson Industries
Tulsi Extrusions Limited
Anant Irrigation
Rewa Polymers
Sudarshan Pipes Extrusions Pvt. Ltd.
Bharat Irrigation Pvt. Limited
Vasaa Industries
Hitech Polyplast Satna Pvt. Ltd.
Ganesh Gouri Industries
SHK Polymers Industries
LN DRIP Irrigation
Bansal Pipe Industries
Shiva Polytubes Private Limited
Gayatri Polymers
Vishwaratan Industries LLP
Shivam Irrigation Works Private Limited
Aisect System and Graphics Division
Jai Sairam Pipes Pvt. Ltd.
Tulsi Polyplast
Aishwaryam Polypipes LLP
Sarathi Pipes India Pvt. Ltd.
S B C Polypipes Pvt. Ltd.
Hanukripa Agro Industries
Falcon Pipes Industries Pvt. Ltd.
|  | 2 | HDPE Fittings | Electrofusion HDPE Fittings | Kimplas
, George ficher
Glynwed
Frialen
Trustlene
GPS
Durafuse
AL-Aziz Plastics
AIVA Engineering Private Limited
Lesso Buildtech Pvt. Ltd
|  | 3 | Valves | Sluice Valves | Kirloskar
|  |  |  | Butterfly Valve | IVC
|  |  |  | Non-return Valves | VAG
|  |  |  | Kinetic Air Valve | IVI
Fouress
Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
Sureeal or equivalent
Shree Krishna Industries
Sureeal or equivalent
Vardhman Electromech
Flownix Valves
E | MBR/ OHSR | 1 | Float valves | Float valves to control the overflow from ESRs/GSRs | Shiva Industries
Bikaner Engineering Works.
|  | 2 | DI Double flanged Pipe | D.I. Double Flanged Pipe 450 mm Dia PN-10 (class- K-9) | Electrosteel
|  |  |  | D.I. Double Flanged Pipe 400 mm Dia PN-10 (class- K-9) | Jindal
|  |  |  | D.I. Double Flanged Pipe 350 mm Dia PN-10 (class- K-9) | Tata
|  |  |  | D.I. Double Flanged Pipe 300 mm Dia PN-10 (class- K-9) | Electrotherm
|  |  |  | D.I. Double Flanged Pipe 250 mm Dia PN-10 (class- K-9) | Jai Balaji Industries
|  |  |  | D.I. Double Flanged Pipe 200 mm Dia PN-10 (class- K-9) | Rashmi Metaliks
|  |  |  | D.I. Double Flanged Pipe 150 mm Dia PN-10 (class- K-9) | Shrikalahasthi pipe
|  |  |  | D.I. Double Flanged Pipe 125 mm Dia PN-10 (class- K-9) | ESL Steel Limited
|  |  |  | D.I. Double Flanged Pipe 100 mm Dia PN-10 (class- K-9) | Welspun DI Pipes Ltd.
Kejriwal Castings Ltd.
|  |  | DI Fittings | DI Fittings | Electrosteel
Jindal
Tata
Electrotherm
Jai Balaji Industries
Rashmi Metaliks
Shrikalahasthi pipe
ESL Steel Limited
Welspun DI Pipes Ltd.
Kejriwal Castings Ltd.
|  | 3 | Joints | Dismantling joints | Anup Engg.
|  |  |  | Expansion joints | LoneStar
Vedanta
Precise/
Shiva
Industries
Bikaner Engineering Works.
|  | 4 | Flow meters | Electro-magnetic Flow meters | Emerson
Krohne Marshall
Yokogawa
Siemens
Endress+Hauser (India)
Itron India
Nivo Controls
SBEM Pvt. Ltd. Pune
Eureka Industrial Equipments Pvt. Ltd.
Adept Fluidyne Pvt. Ltd. Endress+Hauser (India)
Itron India
Nivo Controls
|  |  |  | Woltman Type Bulk Water Meter | Znner
Itron
elster
Minol
Nbeson Engg.
N. B. Industries (Meters) Pvt. Ltd
Everest Sanitation India
UPC Instruments Pvt. Ltd.
Nixies Meters Private Limited.
|  | 5 | Cantainer wall | Zincalum tank | Lemda,
Goyal steel
F | House Service Connections | 1 | Flow control valve | Flow control valve for HSCs. | Platinum Technologies and Engineering Services
Orbit Engineers
|  | 2 | Pipes and specials | MDPE Pipe | HI-TECH Polyplast Nagpur Pvt. Ltd.
Newton Pipe Industry
Gautam Plastics & Industries
Chamunda Plastic Pvt. Ltd.
Noble Green Agritech Pvt. Ltd.
Mohit India
VIP Venkatesh Indigenous Pipes Pvt. Ltd.
Laxmi Engitech Pvt. Ltd.
Rainson Pipe Industries Pvt. Ltd.
|  |  |  | G.I. Pipe | Vishal Pipes Ltd.
APL Apollo Tubes Limited
Shivam Overseas
|  | 3 | MDPE Fittings | Compression fittings | Kimplas
|  |  |  | Tapping Saddles | , George ficher
|  |  |  | Electrofusion Couplers) | Glynwed
Frialen
Trustlene
GPS
Durafuse
AL-Aziz Plastics
AIVA Engineering Private Limited
Lesso Buildtech Pvt. Ltd
|  | 4 | Water Tap | SS tap | Make yet to be decide ( normally provide SS tap)
G | Pumps | 1 | Raw water Pump, motors and Ancillaries | VT pump
Motors for VT pumps
HT Panel
LT Panel
Sluice Valves
Butterfly Valve
Kinetic Air Valve
Water hammer control valves
Zero Velocity Valve
Non Return valve
|  | 2 | Clear water Pump, motors and Ancillaries | Split casing centrifugal pump | Kirloskar
|  |  |  | Motors for Cetrifugal pumps | Jyoti
|  |  |  | HT Panel | Mather+Platt
|  |  |  | LT Panel | WPIL, Beacon Weir
KSB Ltd., Goodwin
KSB Limited (Formerly Known as KSB Pumps Limited)
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
Sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
|  |  |  | Sluice Valves | Kirloskar
|  |  |  | Butterfly Valve | IVC
|  |  |  | Kinetic Air Valve | VAG
|  |  |  | Water hammer control valves | IVI
|  |  |  | Zero Velocity Valve | Fouress
|  |  |  | Non Return valve | Fouress
Sachdeva Metal Works
Jupiter Engineering Co
G.M. Engineering Pvt. Ltd
G.M. DALUI & SONS Pvt. Ltd
R&D Multiples (Metal Cast) Pvt. Ltd
Kartar Valves Pvt. Ltd
Shiva Industries
R S Valve & Products
Durga Valves Pvt. Ltd
AVK Valves India Private Limited
McWane India Private Limited
sigma Flow Control India Ltd.
Chopra Brothers
Shree Krishna Industries
Orbit Engineers, Ahmedabad
Sondhi Industries
Bikaner Engineering Works
Aarko Manufacturing Company
Kamla Valve Manufacturing Concern
Cair Euromatic Automation Private
Sureeal or equivalent
Shree Krishna Industries
Sureeal or equivalent
Vardhman Electromech
Flownix Valves
|  |  |  | Valve Actuators | Auma
Rotork
Limitork
|  | 3 | Joints | Dismantling joints | Anup Engg.
|  |  |  | Expansion joints | LoneStar
Vedanta
Precise/
Shiva
Industries
Bikaner Engineering Works.
|  | 4 | Flow meters | Electro-magnetic Flow meters | Emerson
Krohne Marshall
Yokogawa
Siemens
Endress+Hauser (India)
Itron India
Nivo Controls
SBEM Pvt. Ltd. Pune
Eureka Industrial Equipments Pvt. Ltd.
Adept Fluidyne Pvt. Ltd.
Axis solution Ltd.
H | SCADA System | 1 | SCADA System for Intake well, WTP,IPBS,MBR&OHSR. | Pressure Transmitter (0-16 bar) Output 4-20 MA ¦ | Mitsuishi Electric
|  |  |  | Level Transmitter Ultrasonic Type (Range - 0-35m) ¦ | Schneider Electric
|  |  |  | Pressure Guage (0 to 16 kg) ¦ | Cimcon Software (India) Pvt. Ltd.
|  |  |  | Open Channel Ultrasonic Flow Meter Range 0-2000 mm ¦ | Delta Electronics India Pvt. Ltd.
|  |  |  | TURBIDITY SENSOR with TRANSMITTER (Range - 0-3000 ppm) ¦ | Desire Energy Solutions Pvt. Ltd.
|  |  |  | CHLORINE SENSOR with TRANSMITTER (Range - 0-5 ppm) ¦ | Jumo India Pvt. Ltd.
|  |  |  | PH SENSOR & TRANSMITTER IP 67 ¦ | Forbes Marshall Private Limited
|  |  |  | PRESSURE TRANSMITTER (Range - 0-25 bar) ¦ | Phoenix Contact India Private Limited
|  |  |  | Pressure Guage (0 to 25 kg) ¦ | Fuji Electric India Pvt. Ltd
|  |  |  | Pressure Guage (0 to 10 kg) ¦ | HOLLYSYS ASIA PACIFIC Pte Ltd.
TANK LEVEL Transmitter Ultrasonic Type Range - 5 Mtr ¦
Level Switch for dosing tanks ¦
ROF (Rate Of Flow) ¦
LOH (Loss Of Head) ¦
LEVEL Transmitter (Range - 0-6m) Ultrasonic Type ¦
PRESSURE TRANSMITTER (Range - 0-10 bar) ¦
CHLORINE SENSOR with TRANSMITTER (Range - 0-5 ppm) ¦
CHLORINE SENSOR with TRANSMITTER (Range - 0-5 ppm) ¦
LEVEL Transmitter (Range - 0-5M) Ultrasonic Type ¦
CHLORINE SENSOR with TRANSMITTER (Range - 0-5 ppm) ¦
LEVEL Transmitter (Range - 0-5M) Ultrasonic Type ¦
PLC SCADA INTAKEWELL ¦
PLC SCADA WTP ¦
PLC SCADA IPS ¦
PLC SCADA ZMBR ¦
PLC SCADA OHT ¦
Electronic Earthing with cooper electrode & wire ¦
SITC of Online UPS - with battery, stand & links (1 kva 30 minute backup) ¦
SITC of Online UPS - with battery, stand & links (3 kva backup) ¦
Flexible Copper Cable
PVC conduit 25 mm ¦
Cable Tray ¦

## TPIA
Sr. No. | Name of TPI | Pipe
| M/S SGS india pvt ltd | M/S Central Institute of Plastic Engineering & technology(CIPET)
| M/S International certification Services pvt ltd. | M/S Certification Engineers International Ltd.(CEIL)
M/S Bureau Veritas
M/S RITES Ltd.
M/S IRClass
M/S Quality Services & solution