## SchemeVillage 26-May-2026
Scheme Village Master (Vistrit) - Tuesday 26-May-2026 15:24:18
S.No | PIU Name | Scheme Name | Village Name | Village Code | District Name | Block Name | GP Name | Is a Bulk Village | Is water supply testing started by firm | Is water supply Permitted by GM PIU | Permission Date | Mapped in OHT village Master | No.of supply points for the village | Census Population (in 2011) | Projected Population (in 2025) | HSC
1 | Ujjain | Arniya Bahadur | Ranayrapeer | 471312 | Ujjain | Mahidpur | Ranayrapeer | No | Yes | Yes | 01-Dec-2018 | Yes | 2 | 2744 | 4067 | 643
2 | Ujjain | Arniya Bahadur | Melakhedi | 471314 | Ujjain | Mahidpur | Melakhedi | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 598 | 886 | 111
3 | Ujjain | Arniya Bahadur | Bahadurpura | 471309 | Ujjain | Mahidpur | Asadi | No | Yes | Yes | 01-Dec-2018 | Yes | 2 | 435 | 645 | 89
4 | Ujjain | Arniya Bahadur | Asadi | 471308 | Ujjain | Mahidpur | Asadi | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 1080 | 1601 | 217
5 | Ujjain | Arniya Bahadur | Aranyabagda | 471307 | Ujjain | Mahidpur | Asadi | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 725 | 1075 | 162
6 | Ujjain | Arniya Bahadur | Lotiya junarda | 471345 | Ujjain | Mahidpur | Lotiyajunarda | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 1737 | 2575 | 388
7 | Ujjain | Arniya Bahadur | Shrawan | 471319 | Ujjain | Mahidpur | Shrawan | No | Yes | Yes | 01-Dec-2018 | Yes | 2 | 1197 | 1774 | 230
8 | Ujjain | Arniya Bahadur | Borkhedi | 471315 | Ujjain | Mahidpur | Shrawan | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 481 | 713 | 80
9 | Ujjain | Arniya Bahadur | Sukdi | 471306 | Ujjain | Mahidpur | Sakriya | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 262 | 388 | 59
10 | Ujjain | Arniya Bahadur | Sakariya | 471346 | Ujjain | Mahidpur | Sakriya | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 887 | 1315 | 190
11 | Ujjain | Arniya Bahadur | Sumrakheda | 471351 | Ujjain | Mahidpur | Sumrakheda | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 798 | 1183 | 133
12 | Ujjain | Arniya Bahadur | Sanoriya | 471305 | Ujjain | Mahidpur | Sumrakheda | No | Yes | Yes | 01-Dec-2018 | Yes | 2 | 572 | 848 | 112
13 | Ujjain | Arniya Bahadur | Akyabajrang | 471350 | Ujjain | Mahidpur | Sumrakheda | No | Yes | Yes | 01-Dec-2018 | Yes | 1 | 220 | 326 | 35

## OHT Village Mapping (Vistrit) -
OHT Village Mapping (Vistrit) - Tuesday 26-May-2026 15:24:43
S.No | Scheme Name | Component Name | District Name | Block Name | OHT Name | GP | Village Name | LGD Code | Habitation | Local Name | Capacity (in KL) | Operator Name | Operator Contact
1 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Ranayrapeer (OHT-004-1) | Asadi | Bahadurpura | 471309 | 47130902 (Bahadurpura) |  | 81 | Jitendra | 9039344234
2 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Asadi (OHT-004-10) | Shrawan | Shrawan | 471319 | 47131901 (Asadi) |  | 134 | Sanjay | 9589890537
3 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Ranayrapeer (OHT-004-1) | Asadi | Bahadurpura | 471309 | 47130901 (Bahadurpura) |  | 81 | Jitendra | 9039344234
4 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Ranayrapeer (OHT-004-1) | Sumrakheda | Sanoriya | 471305 | 47130501 (Sanoriya) |  | 81 | Ramlal | 7828638860
5 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Ranayrapeer (OHT-004-1) | Ranayrapeer | Ranayrapeer | 471312 | 47131201 (Bahadurpura) |  | 81 | Jitendra | 9039344234
6 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Asadi (OHT-004-10) | Shrawan | Borkhedi | 471315 |  |  | 134 | Gokul | 9685174064
7 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Asadi (OHT-004-10) | Shrawan | Shrawan | 471319 |  |  | 134 | Hemraj | 7987302553
8 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Sukdi (OHT-004-3) | Asadi | Aranyabagda | 471307 |  |  | 66 | Shankarlal | 8519001455
9 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Asadi (OHT-004-9) | Asadi | Asadi | 471308 |  |  | 60 | Sanjay | 9589890537
10 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Ranayrapeer (OHT-004-8) | Ranayrapeer | Ranayrapeer | 471312 |  |  | 114 | Ramlal | 9617509679
11 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Sanoriya (OHT-004-4) | Sumrakheda | Sanoriya | 471305 |  |  | 62 | Ramlal | 7828638860
12 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Lotiya junarda (OHT-004-5) | Lotiyajunarda | Lotiya junarda | 471345 |  |  | 96 | Kamal singh | 7024494660
13 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Ranayrapeer (OHT-004-8) | Melakhedi | Melakhedi | 471314 |  |  | 114 | Badrilal | 9893252462
14 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Sanoriya (OHT-004-4) | Sumrakheda | Sumrakheda | 471351 |  |  | 62 | Ramlal | 7828638860
15 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Sakariya (OHT-004-7) | Sumrakheda | Akyabajrang | 471350 |  |  | 63 | Bhagwati Sharma | 9752999497
16 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Sakariya (OHT-004-7) | Sakriya | Sakariya | 471346 |  |  | 63 | Bhagwati Sharma | 9752999497
17 | Arniya Bahadur | OHT | Ujjain | Mahidpur | Sukdi (OHT-004-3) | Sakriya | Sukdi | 471306 |  |  | 66 | Shankarlal Sharma | 8519001455

## Scheme Bulk Consumer Master
Scheme Bulk Consumer Master (Vistrit) - Wednesday 27-May-2026 13:03:30
S.No | Scheme Name | Name of bulk consumer | Urban/Rural | ULB Name | Consumer Type (ULB/Other) | District | Block | GP | Village | Daily contract demand (KL) | Total Supply points of bulk consumer
1 | Agar Malwa | Jawahar Navodaya Vidyalaya, Susner | Rural |  |  | Agar-Malwa | Susner | Aankly | Ankli | 60 | 1

## bulk consumer mapping
Bulk Consumer Mapping (Vistrit) - Wednesday 27-May-2026 13:06:29
S.No | Scheme Name | Name of bulk consumer | Local Name | Supply from(OHT/WTP) | Name of the supply point(OHT Name/WTP) | Meter Name
1 | Agar Malwa | Jawahar Navodaya Vidyalaya, Susner | Ankli | OHT | Ankli (OHT-001-41)

## Dhara Intake Meter Survey -
Dhara Intake Meter Survey - Tuesday 26-May-2026 15:28:05
S.No | Scheme Name |  | Start Reading | End Reading | Total Raw Water Drawn | Functional Status | Survey Date | Latitude | Longitude | FE Remark | GM Remark | Status | Any Concern Contractor | Contractor Remarks | Approval Status
1 | Agar Malwa |  | 21-May-20268511550 | 8542486 | 30936 | Meter Functional | 22-May-2026 | 23.9416 | 76.1001 |  |  | Forwarded | No |  | Pending Approval
2 | Arniya Bahadur |  | - | - | 822 | Not Functional | 22-May-2026 | 23.6549 | 75.6974 |  |  | Forwarded-Approved | No |  | GM Approved
3 | Indokh |  | 21-May-20262644511 | 2660359 | 15848 | Meter Functional | 22-May-2026 | 23.538 | 75.5976 |  |  | Pending | No |  | Pending
4 | Nagda |  | 21-May-202648048 | 50208.2 | 2160.2 | Meter Functional | 22-May-2026 | 23.4454 | 75.3963 |  |  | Forwarded-Approved | No |  | GM Approved
Intake Meter Survey (Dhara) - Tuesday 26-May-2026 15:28:05
S.No | Date | Scheme Name | Component | Survey Date | Meter Status | Start Reading | End Reading | Total Raw Water Drawn (KL) | FE Remark | GM Remark | Status | Any Concern Contractor | Contractor Remarks |  | Approval Status
1 |  | Agar Malwa | Intake | 22-May-2026 | Meter Functional | 20268511550 | 8542486 | 30936 |  |  | Forwarded | No |  |  | Pending Approval
2 |  | Arniya Bahadur | Intake | 22-May-2026 | Not Functional | - | - | 822 |  |  | Forwarded-Approved | No |  |  | GM Approved
3 |  | Indokh | Intake | 22-May-2026 | Meter Functional | 20262644511 | 2660359 | 15848 |  |  | Pending | No |  |  | Pending
4 |  | Nagda | Intake | 22-May-2026 | Meter Functional | 202648048 | 50208.2 | 2160.2 |  |  | Forwarded-Approved | No |  |  | GM Approved

## Dhara WTP Meter Survey -
Dhara WTP Meter Survey - Tuesday 26-May-2026 15:28:50
S.No |  | WTP Name |  | Meter Name | Start Reading | End Reading | Total Raw Water Drawn | Functional Status | Survey Date | Latitude | Longitude | FE Remark | GM Remark | Status | Any Concern Contractor | Contractor Remarks | Approval Status
1 |  | Agar Malwa |  | WTP AGAR | 21-May-20268460361 | 8490967 | 30606 | Meter Functional | 22-May-2026 | 23.9415 | 76.1001 |  |  | Forwarded | No |  | 🟡 Pending Approval
2 |  | Arniya Bahadur |  | EMF | 21-May-2026402126 | 402925 | 799 | Meter Functional | 22-May-2026 | 23.6549 | 75.6974 |  |  | Forwarded-Approved | No |  | 🟢 GM Approved
3 |  | Indokh |  | Indokh WTP | 21-May-20262566399.8 | 2581547.8 | 15148 | Meter Functional | 22-May-2026 | 23.4809 | 75.6556 |  |  | Pending | No |  | 🟠 Pending
4 |  | Nagda |  | EMF | 21-May-202660297.7 | 62433.4 | 2135.7 | Meter Functional | 22-May-2026 | 23.4453 | 75.3963 |  |  | Forwarded-Approved | No |  | 🟢 GM Approved
WTP Meter Survey (Dhara) - Tuesday 26-May-2026 15:28:50
S.No | Date | Scheme Name | Component | Meter Name | Survey Date | Meter Status | Start Reading | End Reading | Total Clear Water Supplied (KL) | FE Remark | GM Remark | Status | Any Concern Contractor | Contractor Remarks | Uploaded Document by Firm | Approval Status
1 |  |  | WTP | WTP AGAR | 22-May-2026 | Meter Functional | 20268460361 | 8490967 | 30606 |  |  | Forwarded | No |  |  | 🟡 Pending Approval
2 |  |  | WTP | EMF | 22-May-2026 | Meter Functional | 2026402126 | 402925 | 799 |  |  | Forwarded-Approved | No |  |  | 🟢 GM Approved
3 |  |  | WTP | Indokh WTP | 22-May-2026 | Meter Functional | 20262566399.8 | 2581547.8 | 15148 |  |  | Pending | No |  |  | 🟠 Pending
4 |  |  | WTP | EMF | 22-May-2026 | Meter Functional | 202660297.7 | 62433.4 | 2135.7 |  |  | Forwarded-Approved | No |  |  | 🟢 GM Approved

## WTP village meter survey
S.No | Survey Date |  | Intake Name | WTP Name |  | OHT Name | Name of Villages | Meter Name | Habitation | OHT Start Reading | OHT End Reading | OHT Total Water Supplied | OHT Functional Status | OHT Latitude | OHT Longitude | Vill. Start Reading | Vill. End Reading | Vill. Total Water Supplied | Vill. Functional Status | Vill Latitude | Vill Longitude | FE Remark | GM Remark | Status | Any Concern Contractor | Contractor Remarks | Approval Status
1 | 27-May-2026 |  | Agar Malwa | Agar Malwa |  | - | Dehari Gujar | WTP AGAR |  | - | - | - |  |  |  | 25-May-2026 0 | [7 empty] | Pending | No |  | ⚫ Not Submitted
2 | 27-May-2026 |  | Agar Malwa | Agar Malwa |  | - | Gareli | WTP AGAR |  | - | - | - |  |  |  | 25-May-2026 0 | [7 empty] | Pending | No |  | ⚫ Not Submitted
3 | 27-May-2026 |  | Agar Malwa | Agar Malwa |  | - | Lolaki | WTP AGAR |  | - | - | - |  |  |  | 25-May-2026 0 | [7 empty] | Pending | No |  | ⚫ Not Submitted
4 | 27-May-2026 |  | Agar Malwa | Agar Malwa |  | - | Molyakhedi | WTP AGAR |  | - | - | - |  |  |  | 25-May-2026 0 | [7 empty] | Pending | No |  | ⚫ Not Submitted
5 | 27-May-2026 |  | Agar Malwa | Agar Malwa |  | - | Digon | WTP AGAR |  | - | - | - |  |  |  | 25-May-2026 0 | [7 empty] | Pending | No |  | ⚫ Not Submitted
6 | 27-May-2026 |  | Agar Malwa | Agar Malwa |  | - | Dharu Khedi | WTP AGAR |  | - | - | - |  |  |  | 25-May-2026 0 | [7 empty] | Pending | No |  | ⚫ Not Submitted
S.No. | Date | Scheme Name | Connected from (OHT/WTP) | OHT Name | OHT Capacity (KL) | Survey Date | OHT Meter Status | OHT Start Reading | OHT End Reading | Total Clear Water Filled (KL) | FE Remark | Name of Village | Habitation | Local Name | Village Meter Status | Village Start Reading | Village End Reading | Total Clear Water Supplied (KL) | FE Remark | GM Remark | Status | Any Concern Contractor | Contractor Remarks | Uploaded Document by Firm | Approval Status

## bulk consumer meter survey
S.No |  | Survey Date | Scheme Name | Component Name | Block Name | GP Name |  | Village Name | Name of Bulk Consumer | Supply Point Name | Bulk Consumer Meter Reading Start | Bulk Consumer Meter Reading End | Total Clear Water Supplied (KL) | FE Remark | GM Remark |  | Status | Any Concern Contractor | Contractor Remarks | Approval Status
1 |  | 27-May-2026 | Agar Malwa | OHT | Susner | Aankly |  | Ankli | Jawahar Navodaya Vidyalaya, Susner | Ankli | 25-May-2026 9484 | [5 empty] | Pending | No |  | ⚫ Not Submitted
Bulk Consumer Meter Survey- ___________________________
S.No | Date | Scheme Name | Name of Bulk Consumer | Local Name | Supply from | Survey Date | Meter Status | Start Reading | End Reading | Total Clear Water Supplied (KL) | FE Remark | GM Remark | Status | Any Concern Contractor | Contractor Remarks | Uploaded Document by Firm | Approval Status
1 |  | Agar Malwa | Jawahar Navodaya Vidyalaya, Susner |  | OHT | [7 empty] | Pending | No |  |  | ⚫ Not Submitted

## Approved SP wise village mwsr
Jal Nigam Jal Rekha Portal
S.No |  | Scheme Name | Village Name | Village LGD Code | No. of supply points for the village | Habitation Name | Supply from OHT/WTP | Name of the supply point (OHT Name/WTP) | No. of days in a month | Metered(Supplied) | Unmetered(Supplied) | Total(Supplied) | No. of days water is not supplied | Metered(Total Volume) | Unmetered(Total Volume) | Total(Total Volume) | Data approved days | Approved days entry | Un-Approved days entry
1 |  | Agar Malwa | Amla agar | 472503 | 1 | Amla agar (47250301) | WTP | Dharola (WTP-001-1) | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
2 |  | Agar Malwa | Ankli | 472243 | 1 | Ankli (47224301,47224302) | OHT | Ankli (OHT-001-41) | 31 | 14 | 0 | 14 | 17 | 430 | 0 | 430 | 0/31 | 0 | 14
3 |  | Agar Malwa | Antraliya | 472262 | 1 | Antraliya | OHT | Antraliya (OHT-001-73) | 31 | 10 | 0 | 10 | 21 | 1487 | 0 | 1487 | 0/31 | 0 | 10
Approved supply point wise village MWSR
S.No | Month-YY | Scheme Name | Village Name | Village LGD Code | No. of supply points for the village | Habitation Name | Supply from OHT/WTP | Name of the supply point (OHT Name/WTP) | No. of days in a month | Metered(Supplied) | Unmetered(Supplied) | Total(Supplied) | No. of days water is not supplied | Metered(Total Volume) | Unmetered(Total Volume) | Total(Total Volume) | Data approved days | Approved days entry | Un-Approved days entry
1 |  | Agar Malwa | Amla agar | 472503 | 1 | Amla agar (47250301) | WTP | Dharola (WTP-001-1) | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
2 |  | Agar Malwa | Ankli | 472243 | 1 | Ankli (47224301,47224302) | OHT | Ankli (OHT-001-41) | 31 | 14 | 0 | 14 | 17 | 430 | 0 | 430 | 0/31 | 0 | 14
3 |  | Agar Malwa | Antraliya | 472262 | 1 | Antraliya | OHT | Antraliya (OHT-001-73) | 31 | 10 | 0 | 10 | 21 | 1487 | 0 | 1487 | 0/31 | 0 | 10

## Approved village MWSR
Jal Nigam Jal Rekha Portal
S.No |  | Scheme Name | Village Name | Village LGD Code |  | No. of days in a month | Metered(Supplied) | Unmetered(Supplied) | Total(Supplied) | No. of days water is not supplied | Metered(Total Volume) | Unmetered(Total Volume) | Total(Total Volume) | Data approved days | Approved days entry | Un-Approved days entry
1 |  | Agar Malwa | Amla agar | 472503 |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
2 |  | Agar Malwa | Ankli | 472243 |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
3 |  | Agar Malwa | Antraliya | 472262 |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
4 |  | Agar Malwa | Bajna | 472195 |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
Approved Village MWSR
S.No | Month-YY | Scheme Name | Village Name | Village LGD Code | No. of supply points | No. of days in a month | Metered(Supplied) | Unmetered(Supplied) | Total(Supplied) | No. of days water is not supplied | Metered(Total Volume) | Unmetered(Total Volume) | Total(Total Volume) | Data approved days | Approved days entry | Un-Approved days entry
1 |  | Agar Malwa | Amla agar | 472503 |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
2 |  | Agar Malwa | Ankli | 472243 |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
3 |  | Agar Malwa | Antraliya | 472262 |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0
4 |  | Agar Malwa | Bajna | 472195 |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31 | 0 | 0

## bulk consumer supply point MWSR
Jal Nigam Jal Rekha Portal
S.No | Scheme | Month-YY | District | Block | GP | Village | Name of bulk consumer | No. of supply point | No. of days in a month | Metered(Supplied) | Unmetered(Supplied) | Total(Supplied) | No. of days water is not supplied | Metered(Total Volume) | Unmetered(Total Volume) | Total(Total Volume) | Data approved days
1 | Agar Malwa Multi Village Rural Water Supply scheme (MVRWSS) | Jan-01 | Agar-Malwa | Susner | Aankly | Ankli | Ankli (OHT-001-41) | OHT | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31
Bulk Consumer Supply Point MWSR
S.No | Month-YY | Scheme Name | Name of bulk consumer | Local Name | Supply From (OHT/WTP) | No. of days in a month | Metered(Supplied) | Unmetered(Supplied) | Total(Supplied) | No. of days water is not supplied | Metered Volume (KL) | Unmetered Volume (KL) | Total Volume (KL) | Data approved days
1 |  | Agar Malwa |  |  |  | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0/31

## Approved Bulk Consumer MWSR
Jal Nigam Jal Rekha Portal
S.No | Scheme | Month-YY | District | Block | GP | Village | Name of bulk consumer | Quantity of water required as per agreement per month (KL) | No. of days in a month | Metered(Supplied) | Unmetered(Supplied) | Total(Supplied) | No. of days water is not supplied | Metered(Total Volume) | Unmetered(Total Volume) | Total(Total Volume) | Data approved days
1 | Agar Malwa Multi Village Rural Water Supply scheme (MVRWSS) | May-26 | Agar-Malwa | Susner | Aankly | Ankli | Jawahar Navodaya Vidyalaya, Susner | 1860 | 31 | 5 | 0 | 5 | 26 | 1025 | 0 | 1025 | 0/31
Approved Bulk Consumer MWSR
S.No | Month-YY | Scheme Name | Name of bulk consumer | No. of supply points | Quantity of water required as per agreement per month (KL) | No. of days in a month | Metered(Supplied) | Unmetered(Supplied) | Total(Supplied) | No. of days water is not supplied | Metered(Total Volume) | Unmetered(Total Volume) | Total(Total Volume) | Data approved days
1 |  | Agar Malwa | Jawahar Navodaya Vidyalaya, Susner |  | 1860 | 31 | 5 | 0 | 5 | 26 | 1025 | 0 | 1025 | 0/31

## Approved supply MWSR ufw report
Dhara - Wednesday 27-May-2026 14:51:06
S.No |  | Scheme | OHT Name/ Village Name Connected directly to WTP/ Bulk consumer connected directly to WTP | Type(OHT/Village/bulk consumer) | No. of Days in Month | Metered | Unmetered | Total | No. of days water is not supplied | Metered | Unmetered | Total
1 |  | Agar Malwa | Ankli (OHT-001-41) | OHT | 31 | 14 | 0 | 14 | 17 | 430 | 0 | 430
2 |  | Agar Malwa | Antraliya (OHT-001-73) | OHT | 31 | 17 | 0 | 17 | 14 | 2795 | 0 | 2795
3 |  | Agar Malwa | Bhawanipura (OHT-001-17) | OHT | 31 | 9 | 0 | 9 | 22 | 464 | 0 | 464
4 |  | Agar Malwa | Dharola (OHT-001-81) | OHT | 31 | 0 | 22 | 22 | 9 | 0 | 851 | 851
5 |  | Agar Malwa | Dharola (WTP-001-1) | OHT | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0
Approved Supply point MWSR (For UFW Report)
S.No | Month-YY | Scheme | OHT Name/ Village Name Connected directly to WTP/ Bulk consumer connected directly to WTP | Type(OHT/Village/bulk consumer) | No. of Days in Month | Metered | Unmetered | Total | No. of days water is not supplied | Metered | Unmetered | Total
1 |  | Agar Malwa | Ankli (OHT-001-41) | OHT | 31 | 14 | 0 | 14 | 17 | 430 | 0 | 430
2 |  | Agar Malwa | Antraliya (OHT-001-73) | OHT | 31 | 17 | 0 | 17 | 14 | 2795 | 0 | 2795
3 |  | Agar Malwa | Bhawanipura (OHT-001-17) | OHT | 31 | 9 | 0 | 9 | 22 | 464 | 0 | 464
4 |  | Agar Malwa | Dharola (OHT-001-81) | OHT | 31 | 0 | 22 | 22 | 9 | 0 | 851 | 851
5 |  | Agar Malwa | Dharola (WTP-001-1) | OHT | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 0

## Approved UFW Report
Dhara - Tuesday 26-May-2026 15:37:19
S.No | Scheme | Month | Raw water drawn from Intake (KL) | Clear water pumped from WTP (KL) | Quantity of water filled in OHT's (KL) | Quantity of water supplied to villages connected from OHT (KL) | Quantity of water supplied to villages connected directly from WTP (KL) | Quantity of water supplied to bulk consumers connected directly from WTP (KL) | Total clear water supplied (KL) (Col. 6 + Col. 8 + Col.9) | UFW(%) ((Col. 4 - Col. 10)/Col. 4) × 100
1 | Arniya Bahadur | May-26 | 0 | 18351 | 12321 | 10568 | 0 | 0 | 12321
2 | Indokh | May-26 | 11856 | 11666 | 747 | 567 | 0 | 0 | 747 | 93.7
3 | Nagda | May-26 | 47124 | 44560 | 0 | 0 | 0 | 0 | 0 | 100
Approved UFW Report
S.No | Month-YY | Scheme | Raw water drawn from Intake (KL) | Clear water pumped from WTP (KL) | Quantity of water filled in OHT's (KL) | Quantity of water supplied to villages connected from OHT (KL) | Quantity of water supplied to villages connected directly from WTP (KL) | Quantity of water supplied to bulk consumers connected directly from WTP (KL) | Total clear water supplied (KL) (Col. 6 + Col. 8 + Col.9) | UFW(%) ((Col. 4 - Col. 10)/Col. 4) × 100
1 | May-26 | Arniya Bahadur | 0 | 18351 | 12321 | 10568 | 0 | 0 | 12321
2 | May-26 | Indokh | 11856 | 11666 | 747 | 567 | 0 | 0 | 747 | 93.7
3 | May-26 | Nagda | 47124 | 44560 | 0 | 0 | 0 | 0 | 0 | 100

## Intake WTP Water Pump Report
Dhara - Wednesday 27-May-2026 16:28:47
S.No |  | Scheme | Component |  | No. of Days in a month | Metered | Unmetered | Total | No. of days water is not pumped | Metered | Unmetered | Total
1 |  | Agar Malwa | Intake (Agar Malwa ) |  | 31 | 25 | 0 | 25 | 6 | 659679 | 0 | 659679
2 |  | Agar Malwa | WTP (Agar Malwa ) |  | 31 | 25 | 0 | 25 | 6 | 660300 | 0 | 660300
3 |  | Arniya Bahadur | Intake (Arniya Bahadur ) |  | 31 | 0 | 25 | 25 | 6 | 0 | 20528 | 20528
4 |  | Arniya Bahadur | WTP (Arniya Bahadur ) |  | 31 | 25 | 0 | 25 | 6 | 19956 | 0 | 19956
5 |  | Indokh | Intake (Indokh ) |  | 31 | 26 | 0 | 26 | 5 | 372562 | 0 | 372562
6 |  | Indokh | WTP (Indokh ) |  | 31 | 26 | 0 | 26 | 5 | 366716.8 | 0 | 366716.8
7 |  | Nagda | Intake (Nagda ) |  | 31 | 26 | 0 | 26 | 5 | 53966.2 | 0 | 53966.2
8 |  | Nagda | WTP (Nagda ) |  | 31 | 26 | 0 | 26 | 5 | 51202.5 | 0 | 51202.5
Intake¦WTP Pumped Water Report
S.No | Month-YY | Scheme Name | Component | Meter Name | No. of Days in a month | Metered | Unmetered | Total | No. of days water is not pumped | Metered | Unmetered | Total
1 |  | Agar Malwa | Intake (Agar Malwa ) |  | 31 | 25 | 0 | 25 | 6 | 659679 | 0 | 659679
2 |  | Agar Malwa | WTP (Agar Malwa ) |  | 31 | 25 | 0 | 25 | 6 | 660300 | 0 | 660300
3 |  | Arniya Bahadur | Intake (Arniya Bahadur ) |  | 31 | 0 | 25 | 25 | 6 | 0 | 20528 | 20528
4 |  | Arniya Bahadur | WTP (Arniya Bahadur ) |  | 31 | 25 | 0 | 25 | 6 | 19956 | 0 | 19956
5 |  | Indokh | Intake (Indokh ) |  | 31 | 26 | 0 | 26 | 5 | 372562 | 0 | 372562
6 |  | Indokh | WTP (Indokh ) |  | 31 | 26 | 0 | 26 | 5 | 366716.8 | 0 | 366716.8
7 |  | Nagda | Intake (Nagda ) |  | 31 | 26 | 0 | 26 | 5 | 53966.2 | 0 | 53966.2
8 |  | Nagda | WTP (Nagda ) |  | 31 | 26 | 0 | 26 | 5 | 51202.5 | 0 | 51202.5
Hyperlink
S.No. |  | Date | Scheme | Component | Meter Name | Metered Supply (KL) | Unmetered Supply (KL)